## Sheet1
4008系列
零备件号 | 英文描述 | 中文描述
5000261 | CLAMP 2008C/E/4008B (DEL.UNIT 5) | 双头动脉壶夹 *4008
5341561 | REED-SWITCH 4008 | 干簧管开关 *4008
5663071 | FILTER 2008/4008 (50) | 小过滤网
5790721 | O-RING 6 X 1.5 2008/4008 (10) | 电磁阀密封圈 *4008
6402571 | BRACKET | 22密码静脉壶钢片*4008
6419841 | DIALYSATE CONNECTOR RED 2008/4008 | 快速接头(红)
6419851 | DIALYSATE CONNECTOR BLUE 2008/4008 | 快速接头(蓝)
6424281 | CLAMP (10) | 铁箍(外管)
6437621 | CARBON BRUSH FOR DC-MOTOR 565345 | 流量泵碳刷
6443161 | NOVRAM - LP631 | BRAM存贮器 *4008
6463071 | LINE SET, ASF 4008 | ASP泵管*4008
6501581 | FILTER COMPLETE | 动静脉压内过滤器 *4008
6519041 | CLAMP | 肝素泵轴尾卡子 *4008
6520291 | SEAL PISTON 4008 (10) | 吸管密封圈
6522531 | BAYONET CATCH, BLUE 4008 | 冲洗腔上盖板(蓝) *4008
6522541 | BAYONET CATCH, RED 4008 | 冲洗腔上盖板红) *4008
6525531 | COVER ASSY. 4008 | 冲洗腔上盖板（旧版）*4009
6526131 | FILTER FOR CONC. WAND 4008 (10) | 吸管过滤器 *4008
6529231 | PRESSURE MEASUREMENT POINT 4008 | 压力测量口（ABCD）
6701041 | CARBON BRUSH | 除气泵碳刷 *4008
6707051 | ROLLER PUMP 4008 | ASP空气分离器(97) *4008
6707061 | ULTRAFILTRATION PUMP COMPLETE 4008 | 超滤泵(22) *4008
6707091 | HALL SENSOR for BP door 4008 | 血泵转速霍尔开关 *4008
6707101 | HALL SENSOR 4008 | 血泵门霍尔开关 *4008
6707141 | PRESSURE TRANSDUCER BP 4008 | 动脉压传感器 *4008
6707661 | MOTOR ASSY (FLOW) COMPLETE 4008 | 流量泵马达套件 *4008
6707671 | MOTOR ASSY (DEGASSING) COMPLETE 4008 | 除气泵马达套件 *4008
6715771 | FILTER MAT 2008/4008 (5) | 空气滤过网 *4008
6717301 | COVERING FOIL FOR BP MAGNET 4008 (10) | 血泵泵门磁贴 *4008
6718071 | BALANCE CHAMBER CPL. 4008 | 平衡腔整套件 *4008
6718081 | SHUNT INTERLOCK 4008 | 冲洗桥套装件 *4008
6718111 | RIVET, PLASTIC (10) | 吸管把柄固定钉 *4008
6720221 | Hydraulic Cabel Tree compl. 4008 | 平衡腔电线组 *4008
6726621 | SYRINGE TROUGH 30 ML WHITE 4008 | 30ml肝素泵凹槽 *4008
6727571 | SYRINGE TROUGH 50 ML WHITE 4008 | 50ml肝素泵凹槽 *4008
6730131 | LINE CLAMP 4008 (50) | 铁夹（内管） *4008
6733011 | P.C.B. LP 759 SENSOR BIBAG 4008 | LP 759电路板 *4008
6737161 | PRESSURE REDUCTION VALVE | 装载压调节阀*4008*4008S V10
6739451 | SPRING - SET UF 2008/4008 | 超滤泵弹簧组件*4008 *4008S V10*2008
6740741 | SPRING - SET BIC 2008/4008 | B泵弹簧组件*4008 *4008S V10*2008
6740751 | CONC.PUMP SPRING | A泵弹簧组件*4008 *4008S V10*2008
5660201 | OPTICAL SENSOR COMPLETE R/B 6746791 | 光学监测器*4008*MFT
6746791 | OPTICAL SENSOR (PK) ASSY COMPLETE | 光学监测器*4008*MFT
6746811 | DRIP CHAMBER HOLDER 30 MM WHITE cpl. | 30mm空气监测器*4008
6750841 | MULTIFUNCTION BLOCK F.MACHINES W.BB | 水路多功能腔套装*4008S *4008S V10
6750941 | FLOAT SWITCH COMPLETE 2008/4008 | 浮子开关*4008 *4008S V10 *2008
6751421 | GEAR PUMP PPS CPL. TEFLON 4008 | 泵头PPS*4008 *4008S V10 *5008/S
6751751 | TOUCH PANEL W.PROFILES (ENGLISH) 4008 | 4008B监视器按键*4008B
6758981 | P.C.B. LP 785 ONLINE PLUS 4008 | LP 785 血滤模组控制板*4008
6761051 | FRONTFOIL MODULE HDF 4008 | 血滤模组按键面板*4008
6761251 | DRIP CHAMBER HOLDER W/O SENSOR 22MM 4008 | 22mm静脉壶支架*4008
6763841 | MICRO DISPLAY CONTROLLER 4008H | MDC显示控制板S/H*4008S/H
6764361 | P.C.B. LP927 OPTICAL SENSOR 4008 | LP 927 端口光学位置感应器*4008
6764441 | PCB 928 CAN BUS 4008S | LP 928 CAN BUS分配板*4008B/S
6764661 | SWITCH FOR BIBAG 4008 | 干粉微动开关*4008
6766031 | DRIVE ASSY.F.HDF-PUMP WITH GEAR 4008 | 血滤模组电机*4008
6766451 | TOUCH PANEL CPL(GB) W. TFT DISPL. 4008S | 4008S监视器按键面板*4008S
6767131 | PISTON PUMP TYPE 003D/22-1,2 4008 | 水路空气压缩泵*4008
6767291 | P.C.B. LP941 W.DISTRIBUTION BOARD 4008 | LP941高级水路控制板*4008S
6772111 | P.C.B. LP 633 SMT (not for M/C with OCM) | LP 633信号输入板*4008
6772261 | P.C.B. LP 763D MULTI -INTERFACE-BOARD | LP763多界面分配板*4008*4008SV10
6773221 | ROTOR, CPL.W.GRIP DISC BLOOD PUMP 4008 | 血泵转子*4008
6774861 | CONDUCTIVITY PILE BIBAG AIR SEPARATOR | 干粉电导度传感器*4008
6777231 | P.C.B. LP 922 (SMD) DISPLAY BOARD 4008S | LP 922 显示板4008S*4008S
6777341 | BiBAG CONNECTOR FOR 4008B/S | 干粉连接头*4008
6777921 | DIALYSER HOLDER (NEW)2008/4008 | 透析器固定夹*4008 *4008S V10 *2008
6797651 | TEMPERATURE SENSOR (TITAN 2008/4008 | 钛合金温度传感器*4008 *4008S V10*2008
M302251 | CARTRIDGE FILTER 4008 | 过滤器（210）*4008
M304081 | P.C.B. LP633-5 INPUTBOARD (OCM capable) | LP 633-5(OCM)*4008
M305411 | P.C.B.LP634 SMT OUTPUT BOARD/MONITOR | LP 634 SMT*4008
M305711 | BUBBLE CATCHER HOLDER 22MM CPL.W.SENSORS | 22mm空气监测器*4008
6760201 | P.C.B. LP 787(ADAPTER RTC P.C.B.631)4008 | LP 631 SMT*4008
M307391 | P.C.B.LP631 SMT CPU1 (rep 6704281) 4008 | LP 631 SMT*4008
M307961 | HEATER ROD 1600W/220V TITANIUM 4008 | 加热棒1600W/220V(54)*4008
M310541 | STEPPER MOTOR W.GEAR F.HEPARINPUMP | 用于LP950的肝素泵马达*4008
M310591 | INVERTER E1444 FOR BACKLIGHT MDC-BOARD | 显示逆变器(IC41)*4008
6773831 | P.C.B. AD 28 FOR LP 450 4008 | LP 450-2 SMT*4008
M314491 | P.C.B. LP450-2 SMT F. LD 4008 | LP 450-2 SMT*4008
M318951 | P.C.B. LP 644-4 F.SP20/30/50ML | LP 644-4 肝素泵显示板*4008
M334391 | PRESSURE TRANSDUCER TMP 4008/2008 | 压力传感器(9)*4008
M335561 | PRESSURE SWITCH CDS 700MBAR | CDS压力开关*4008
M335571 | BiBAG PRESSURE SWITCH (130MBAR) | Bibag压力开关(134)*4008
M335591 | PRESSURE TRANSDUCER TMP2 4008B/S | 压力传感器(182)*4008
M338741 | REPAIR SET THREADED SPINDEL HEP.P. 4008 | 皮带轮+轴+螺丝组件*4008
M339891 | SOLENOID VALVE Dual Port | 双头电磁阀*4008
M339911 | SOLENOID VALVE, Dual.PORT High Flow | 高流量双头电磁阀*4008
M353201 | DISPLAY (COLOUR-TFT) 10,4" 640X480 | 10.4"4008S/H液晶显示屏*4008H/S *4008S V10
M362411 | HEATER ROD 2X800W/230V TITAN | 加热棒2X800W/230V *4008B/H/S/V10
M363901 | LED Display | LED显示器 *4008
M375781 | DEGASSING PUMP MOTORWITH PLUG 4008E | 除气泵电机 *4008B/H/S/V10
M375791 | FLOW PUMP MOTOR WITH PLUG 4008E | 流量泵电机 *4008B/H/S/V10
M375831 | DISPLAY (VFD) F.ONLINEplus u.BVM4008 | 血容显示器 *4008
M382391 | SMALL HARDWARE ITEM SET SHUNT INTERLOCK | 冲洗桥小配件组件 *4008
M386901 | FUSE T 16A (6,3X32MM) VPE10 | 保险丝16A *4008
M388721 | RELIEF VALVE CPL. | 流量泵压力调节阀（78） *4008
M389931 | FUSE; AXIAL FF 10A 4008 | 电源保险丝10 *4008
M389941 | FUSE T 6,3A 4008 | 电源保险丝6.3A *4008
M390401 | Repair kit air distributor BPM | 血压监测多通街头（含管路）*4008H/S
M396241 | CONCENTRATE SUCTION TUBE(RED)4008 | A液吸管（不含软管，红色） *4008
M396251 | BICARBONATE SUCTION TUBE (BLUE) 4008 | B液吸管（不含软管，蓝色） *4008
M399161 | BP Drive With P.C.B.LP624 | 血泵马达及LP624套装 *4008
6767321 | P.C.B.LP931 HDF-DISPLAY | LP931HDF显示板
M566981 | P.C.B.LP931 HDF-DISPLAY | LP931HDF显示板
M304261 | P.C.B.LP 632 SMT CPU 2 w/o EPROM 4008 | CPU2控制板 *4008
M389751 | P.C.B.LP 632 SMT CPU 2 w/o EPROM 4008 | CPU2控制板 *4008
M393351 | P.C.B LP 624 SMT 4-POLES 4008 | LP624, 4线血路板（LP624)
M418181 | P.C.B LP 624 SMT 4-POLES 4008 | LP624, 4线血路板（LP624)
6720291 | BATTERY 4008 | 蓄电池 *4008/MFT
M388081 | MAGNET-KLEMMVENTIL 24V | 置换液夹断伐 *4008S
M424071 | POWER SUPPLY 100-240V 4008B | 电源模块 *4008
M551021 | POWER SUPPLY 100-240V 4008B | 电源模块 *4008
M336451 | POWER CORD W.CHINA-PLUG (L=3,5M) 5008/4008 | 电源线*4008
M393211 | STEPPER MOTOR | 血泵电机 *4008
M473721 | P.C.B. LP 630 Motherboard with AMP-Plug *4008 | Lp630母板 *4008
M487431 | BLOOD PRESSURE CUFF ARM 24-32CM ADULTS | BPM袖袋 *4008 5008
M502301 | POWER BOARD F.POWER SUPPLY 4008B/S | 电源主板+加热板套装 *4008
M375631 | DOOR FOR 20+22MM BUBBLE CATCHER HOLDER | 空气传感器门22mm *4008B/H/S
M382731 | GRIP DISC SET BLOOD PUMP/ACD PUMP 4008 | 血泵转子盖 *4008
6763031 | Cover Ring Blue 96mm for bibag | 干粉连接头蓝色密封圈*4008
M375711 | LUER LOCK CONNECTION CONE | 静脉压力测量接口 *4008B/H/S/V10
M388601 | SOLENOID VALVE DISINFECTION 4008 | 消毒液阀 *4008
6772701 | MODIF.KIT DIASAFE PLUS 4008B/S | 细菌过滤器模块套装*4008
M364981 | ADAPTER 10mm-6mm WITH TUBE 5008 | 进水管10mm-6mm *4008 5008/S
M445221 | P.C.B. MDC II 4008S V10 | 液晶屏驱动板 *4008SV10
M500771 | HEATER BOARD 4008B/S/SV10/ART | 电源加热板 *4008
6713621 | TUBING PVC RED REINFORCED 10X3 1ROLL=50M | 红色PVC管10*3 *4008
M435341 | TUBING PVC RED REINFORCED 10X3 1ROLL=50M | 红色PVC管10*3 *4008
6774281 | CONDUCTIVITY CELL 4008B/S | 电导度传感器(双孔)*4008 *4008SV10
M407161 | DIALYSATFILTER 4008/2008 | 透析液废液过滤器（73+铁箍） *4008
6778721 | MODIFICATION KIT O-RINGS BIBAG CONNECTOR | 干粉接口密封圈(大/小)*4008
M488091 | O-RING 7.8 X 1.6 | Online端口密封圈7.8 x 1. 6 *4008 5008
M375611 | Ultrasonic Sensor Set for Level Detector | 空气超声波传感器 *4008B/H/S
M521891 | LP 1631 | LP631 CPU1主板 *4008S/V10
M436581 | BPM MODULE 4008 | 血压模组 *4008S
M391581 | DIALYSATE TUBE RED CPL. SILICONE 4008 | 透析液管路（红 ） *4008
M500781 | POWER BOARD 4008B/S/SV10/ART | 电源主板 *4008
M382111 | MAINTENANCE KIT WITHOUT OPTIONS 4008 | 保养套装件 *4008
M394601 | MICRO SOLENOID VALVE/VENT VALVE | 铜头三通阀 *4008
M353011 | RETROFIT KIT SUPPLY CABLE NT-MONITOR | 电源母板连接线*4008
M511321 | TFT-COLOUR-DISPLAY 10,4" LED 4008S/S V10 | 液晶显示屏 *4008S/V10
M332331 | ASSY-COVER COMPLETE 4008S/B | 冲洗腔上盖板(新版)*4008
M509861 | P.C.B. MDC III 4008S/S V10 | 显示屏驱动控制电路板 *4008S/V10
M445051 | BPM-SPIRAL HOSE F. BPM-CUFF | 血压测量延长管3.5MM *4008 5008
M384761 | PLUNGER HOLDER 50ML WHITE 4008 | 50ml肝素泵压帽 *4008
M375841 | TURNING LEVER SET ONLINEplus 4008 | 置换液端口拉杆 *4008S
6761681 | FILTER HYDRO-BLOC (5.5/5.5) 4008 | 消毒液过滤器5.5-5.5mm*4008
M280451 | HEATER CPL. VERSION 2 MULTIFILTRATE | 加热器*MFT
6737221 | HEATER BLOCK 230V 1600W 4008E/H | 加热腔整套装，1600W*4008B/S
6736241 | CABLE HARNESS FOR VALVES 4008B/S/ S V10 | 电磁阀电线组*4008
M384741 | PLUNGER HOLDER 20ML WHITE 4008/S V10 | 20 ml肝素泵压帽 *4008
M382101 | TUBING SILICONE 6,1x | 白色胶管（6.1*2.6mm 3mlong） *4008
M329791 | Cap For Micro Switch *5008/S *4008 *4008S V10 (10/ | 微动开关帽子*5008/S *4008 *4008S V10
M376721 | Level Sensor Probes *4008 *4008S V10 *5008/S | 液位传感器探针 *4008,5008
M388701 | PRESSURE REDUCING VALVE 4008/5008/S | 进水减压阀(61)+铁箍 *4008
5000271 | CLAMP 2008/4008 | 单头动脉壶夹 *4008
5008211 | EQUILIBRATION CHAMBER DIASAFE PLUS | Dummy细菌过滤器替代腔 *4008
5304091 | TRIAC Q4025P OR Q5025P/Q6025P 2008/4008 | 可控硅 *4008
5651571 | MEMBRANE 2008/4008 | 平衡腔膜
5790751 | O-RING 17,17 X 1,78 2008/4008 (10) | O型圈 17X1.78
5790951 | bibag Oring | Bibag O型圈
M426741 | O-RING 12,37X2,62 COATED | 红蓝快速街头密封圈 *5008/S
6312941 | LF-ZELLE TETRACON 325 MIT KABEL 1,5M | 电导度/温度测量棒
6416401 | TUBE CLAMP (10) | 管卡
6417591 | O-RING 4,47 X 1,78 | 密封圈 4,47 X 1,78
6419041 | COVER | 盖子
6438791 | FILTER CARTRIDGE 2008/4008 | 进水滤芯
6455351 | FUSE LINK 12.5 AM | 保险管12.5A
6458811 | FILTER FOR DIASAFE 4008 (10) | 疏水过滤器(111)
6460711 | HALL SWITCH | 肝素泵定位开关
6471891 | TRAFFIC LIGHT ASSY. 4008 | 状态指示灯 *4008
6477911 | CLAMP 7.5 MM | 钢卡7.5mm
6501131 | FILTER ELEMENT 2008/4008 (10) | 液体过滤器
6509241 | SWIVEL CASTOR Wheel 2008/4008 | 轮子
6519351 | OPTICAL SENSOR 4008 | 肝素泵霍尔开关 *4008
6525671 | TERMINAL BLOCK 4008 | 止动块 *4008
6529241 | CONDUCTIVITY CELL for 4008E/H & biBag | 4008Ebibag电导率传感器 *4008
6704361 | P.C.B. LP 635, DISPLAY BOARD 4008 | LP635
6704381 | P.C.B. LP 636, EXTERNAL I/O BOARD 4008 | LP 636接口电路板 *4008
6704421 | P.C.B. LP 638 POWER SUPPLY | LP 638电源板 *4008
6707451 | ART. BLOOD PUMP MODULE COMPLETE 4008 | 血泵电机套件
6709891 | TRANSFORMER PRINT 2,5VA 4008 | LP744 电源电路板 *4008
6712361 | HEATER BLOCK CPL. 230 V 4008 | 加热腔整套件含加热棒浮子开关
6712371 | HEATER BLOCK 4008 | 加热腔
6713021 | TOUCHPANEL COMPLETE (ENGLISH) 2008A | 2008A面板 *2008
6714851 | TOUCH PANEL, COMPLETE (ENGLISH) 4008 | 4008E面板
6717121 | P.C.B. LP 649, DISPLAY BOARD 4008B | LP649
6717971 | ROD 4008 | 血泵压舌板轴杆 *4008
6718091 | SWITCH BRACKET COMPLETE 4008 | 冲洗桥微动开关 *4008
6719431 | P.C.B.LP 747 DISTRIBUTION BOARD 4008 | LP747 水路分配电路板 *4008
6719851 | P.C.B. LP 743 POWER CONTROL 4008B | LP743 电源板 *4008
6719871 | P.C.B. LP 744 POWER CONTROL 2 4008B | LP744 电源板 *4008
6724211 | P.C.B.LP 748, DISPLAY BOARD 4008 | LP 748 血泵显示板（旧款） *4008
6725141 | RIBBON (PUMP STATOR) 4008 | ASP泵管压片 *4008
6726581 | ROTOR KPL. 4008 | HDF泵转子 *4008
6730411 | P.C.B. LP 754 4008 | LP754 电路板
6730681 | MEMBRANE PUMP 4008 | 静脉模组气泵 *4008
6731321 | CLIP 12 MM, CHROME (50) | 铁丝管夹
6733601 | VIBRATION ABSORBER FOR CONC. PUMP 4008 | 防震螺丝 *4008
6740891 | CHECK VALVE 4008 | 中央供液单向阀*4008
6740971 | LF-UEBERWACHUNG MV 84 (Sens.115) 4008/B | 消毒液阀探针 *4008
6746801 | TOUCH PANEL F.AIRDETECTOR/WHITE 4008 | 静脉按键面板*4008
6747601 | FRONT PANEL (INCL. TOUCH PANEL) LD 4008 | 静脉模组面板
6760531 | FLAT CABLE 16 PINS UNIV. HDF 4008 | CAN BUS 线（16孔，60CM）
6760771 | P.C.B. LP 644-3 | LP644-3
6761241 | DRIP CHAMBER HOLDER W/O SENSOR 30 MM | 30mm静脉壶支架*4008
6761951 | P.C.B.LP915 F.ONLINE-HDF 4008 | LP 915血滤模组分配板*4008
6763941 | Touch Panel COL (English) 4008H | 4008面板*4008H
6767121 | P.C.B. LP 923 TRAFFIC LIGHT MONITOR 4008 | LP 923 监视器交通灯显示板*4008S/H
6767151 | DIASAFE PLUS HOLDER 4008 | 细菌过滤器支架*4008
6769071 | FRONT PANEL WITH KEYBOARD BPM 4008 | 血压监测模组按键面板*4008
6769091 | PRESSURE CONNECTOR W.NUT M8 BPM 4008 | 血压监测模组测量接口(旧款）*4008
6769101 | P.C.B.(PROCESSING UNIT)BPM4008 | BPM主板
6769111 | P.C.B. DISPLAY BPM | BPM显示板
6774111 | BACKGROUND LIGHTING DISPLAY 4008H | 显示屏背光灯*4008S/H
6777011 | P.C.B. LP 950 F.MODULE SP20/30/50ML | LP 950 肝素控制板*4008
6777701 | P.C.B. LP924 (SMT) DISPLAYBOARD 4008H | LP 924 显示板4008H*4008H
M302911 | MODULE LEVEL DETECTOR (30MM) WHITE 4008 | 静脉模组（30mm)
M324801 | MODULE SYRINGE PUMP 30ML WHITE 4008 | 30ml肝素泵模组*4008
M325201 | PRESSURE TRANSDUCER TMP 4008 | 压力传感器
M333671 | ASSY-SUPPORT BLOCK | 肝素泵轴套支架*4008
M334501 | MULTI FUNCTION BLOC 4008 | 多功能腔
M335191 | P.C.B. LP634-3 SMT 4008-ART | LP 634-3 (ARrT)*4008
M335581 | PRESSURE TRANSDUCER TMP2 4008E/H | 2号压力传感器
M335951 | RETROFIT PARTS F. Heparin Pump 95 | 肝素泵马达支架*4008
M336391 | POWER SUPPLY 100-240V 4008E/H | 4008E/H电源箱整套（不含电源线）
M352601 | P.C.B LP 639 POWER LOGIC BOARD 4008 | LP 639 电源逻辑板A/E/H*4008E/H
M352621 | "P.C.B. LP 647, POWER LOGIC (XPAD10) 400 | LP 647 电源逻辑板B/S*4008B/S
M355501 | CHECK VALVE AT HEATER BLOCK | 单向阀(92)*4008
M361671 | PLATINE LP1327 SMT 4008-NETZTEIL | LP1327可控硅控制板 *4008B/H/S
M388461 | POWER BOARD F.POWER SUPPLY 4008E/H | 4008E/H电源主板
M388481 | HEATER BOARD F.POWER SUPPLY 4008E/H | 4008E/H加热板
M388491 | HEATER BOARD F.POWER SUPPLY 4008B/S | 加热控制电路板 *4008
M388501 | CONNECTION CABLE HEATER ROD 4-POLES 4008 | 4线加热棒电源线
M388511 | MAINS SWITCH BOARD F.POWER SUPPLY 4008 | 电源总开关 *4008
M388521 | GROUND CABLE F.POWER SUPPLY 4008B/S | 电源接地线
M388531 | CONNECTOR SOCKET F.POWER SUPPLY | 新型电源箱电源线底座（蓝色）
M534771 | "SAMPLE VALVE,DIALY.RETURN LINE 2008/4008 | 取样阀
M391841 | BLOOD LEAK DETECTOR | 漏血传感器 *4008 5008
M407171 | FLOW INDICATOR 4008/AquaSAFE | 流量指示器（75+铁箍） *4008 5008
M428081 | HEATER BLOCK 230V 2X800W | 加热腔整套（含加热棒4线）
M472541 | P.C.B. LP 950 F.HEP PUMP 4008/ART/PROMTH | 4008肝素泵控制板（LP950)
M559971 | P.C.B. LP 950 F.HEP PUMP 4008/ART/PROMTH | 4008肝素泵控制板（LP950)
6727551 | SYRINGE TROUGH 20 ML WHITE 4008 | 20ml肝素泵凹槽 *4008
6467281 | FILTER ASSAMBLY 7 - 7MM | 小过滤器7.5-7.5mm(76 148 149 119) *4008
M483421 | FILTER ASSAMBLY 7 - 7MM | 小过滤器7.5-7.5mm(76 148 149 119) *4008
M487641 | BLOOD PRESSURE CUFF ARM 32-42CM ADULTS | BPM袖带32-42
6725741 | UF filter (74) | 小过滤器(74)
M483411 | "FILTER HOUSING, 5-5 MM" | 小过滤器5-5mm(74) *4008 5008
M302131 | Dialysate valve (24, 24b, 26) | 单通电磁阀
M339881 | SOLENOID VALVE / CONNECTOR ONE SIDE | 单头电磁阀*4008
M359301 | Door LD 30ml | 30mm空气传感器门
M375641 | DOOR FOR 30MM BUBBLE CATCHER HOLDER | 30mm空气传感器门
5671721 | HINGE SCREW (DELIV.UNIT 10) | 旁路盒上的卡销（10个装）
6720711 | HINGE SCREW (DELIV.UNIT 10) | 血泵门螺丝
M375651 | DOOR COMPLETE FOR BLOOD PUMP 4008 | 血泵门含螺丝 *4008B/H/S
6463361 | ANSCHLUSSBLOCK KPL. 2008H/K/T USA | 电磁阀连接块*4008
6723151 | VALVE BLOCK V26/84 4008B/S | 电磁阀组件(V26/84) *4008
5259491 | Capacitor 4700uf | 电容4700
M408111 | ELECTROLYTIC CAPACITOR 4700ｵF/63V 4008 | 电容（4700uf） *4008
5332031 | Speaker | 喇叭
M396811 | LOUDSPEAKER WITH CABLE 4008 | 扬声器+插头 *4008
6470261 | "O-RING 5,28X1,78 (10)" | 密封圈 5,28X1,78 *4008
M439741 | O-RING 5.28X1.78 COATED | 干粉接口密封圈（小） *4008
M281291 | HOOD, PRE-ASSEMBLED MULTIFILTRATE | MFT显示屏（含按键）整套
5453611 | SILICONE TUBE (R=50M) 2008/4008 | 硅胶管（5*3mm 3mlong 新号 M382081）
M382081 | TUBING SILICONE 5x3mm TRANSPAR. 3m LONG | 硅胶管（5*3mm 3mlong) *4008 5008
5453641 | SILICONE TUBE (L=50 M) BLUE 2008/4008 | 蓝色胶管（3.3*2.2 3mlong 新号 M 382091)
M382091 | TUBING SILICONE 5X3mm TRANSPAR | 蓝色胶管（3.3*2.2 3mlong) *4008 5008
6409191 | O-RING 8 X 2 2008/4008 (10) | O型圈 8X2
M433261 | O-Ring 8x2 coated | 干粉密封圈 *5008/S
6430301 | FUSE 3.15 A/T (10) | 蓄电池保险丝底座（6723051）
6438801 | FILTER CPL. 2008/4008 | 进水过滤器整套（m426761)
6518011 | DEGASSING ORIFICE 2008/4008 | 负压小孔89号（m327381)
6523031 | RINSE CHAMBER 4008 | 冲洗腔（包含A/B）
6525681 | RINSE CHAMBER COMPLETE 4008 | 冲洗腔套件 *4008
6710031 | P.C.B. 645 - LIGHT BARRIER, | #N/A
M307151 | UNIVERSAL MEMBRANE PUMP | 浓缩液A/B泵(23/25)*4008
6717201 | O-RING 34.59x2.62 4008 | O型圈
5790761 | O-RING 32 X 2 2008/4008 (10) | O型圈
6717611 | FAN 4008 | 风扇
6721111 | POWER CORD FOR BP MOTOR 4008 | 血泵电机含线
M399161 | BP Drive With P.C.B.LP624 | 血泵马达及LP624套装 *4008
6730631 | HINGED COVER (SHUNT INTERLOCK) 4008 | #N/A
6762731 | MAGNET FLANGE 4008 | 流量泵电机含底座，磁环（6707661）
5008系列
零备件号 | 英文描述 | 中文描述
M391841 | BLOOD LEAK DETECTOR 4008/5008 | 漏血传感器 *4008 5008
6751421 | GEAR PUMP PPS COMPLETE 4008/5008/S | 泵头PPS*4008 *4008S V10 *5008/S
6526131 | FILTER FOR SUCTION TUBE 4008/5008/S | 吸管过滤器 *4008
M426741 | O-RING 12,37X2,62 COATED | 红蓝快速街头密封圈 *5008/S
M388701 | PRESSURE REDUCING VALVE 4008/S V10 5008/ | 进水减压阀(61)+铁箍 *4008
M302251 | FILTER 7,0/7,0MM 265ｵM 4008/5008 | 过滤器（210）*4008
M409181 | PRESSURE MEASURING UNIT RED 5008/S | 动脉压装置 *5008/S
M382081 | TUBING SILICONE 5x3mm TRANSPAR. 3m LONG | 硅胶管（5*3mm 3mlong) *4008 5008
6424281 | HOSE CLIP D13,8 S/S 4008/5008/MSC | 铁箍(外管)
M534771 | FLUID SAMPLE VALVE CPL 4008/S V10/5008/S | 取样阀
6715771 | FILTER FOR FAN 4008/4008S V10/5008S | 空气滤过网 *4008
M445051 | BP-MEAS. TUBE L=3.5M 4008/5008 | 血压测量延长管3.5MM *4008 5008
6761681 | FILTER 5,5/5,5 5008/4008/4008S V10 | 消毒液过滤器5.5-5.5mm*4008
M465231 | RINSE CHAMBER SEAL 5 | 冲洗腔密封圈 *5008S
M367771 | UNIVERSAL CONDUCTIVITY CELL 5008/S | 电导度传感器 *5008/S
M369041 | UNIVERSAL TEMPERATURE SENSOR 5008/S | 温度传感器 *5008/S
M443931 | P.C.B. LP 1108-3 Hydraulics Actuators | LP1108-3水路驱动电路板（M534621） *5008
M315261 | P.C.B. LP 1109 / Hydraulics Sensors OS | LP1109 水路传感器操作控制板*5008/S
M315291 | P.C.B. LP 1110 / Hydraulics Sensors SS | LP1110 水路传感器安全控制板*5008/S
M315381 | P.C.B. LP 1113 / Hydraulics Valve Control Board | LP1113 水路阀控制板*5008/S
M315711 | P.C.B. LP 1124 / Hydraulics Distribution Board | LP1124 水路分配板 前侧*5008
M316191 | P.C.B. LP 1140 / Hydraulic Sensors *5008S | LP1140 水路传感器板*5008S
M443961 | P.C.B. LP 1141-3 Hydraulics Actuators *5008S | LP1141-3水路驱动电路板 *5008
M382031 | P.C.B. LP 1202 / Controller Board (C167) *5008/S | LP1202控制板 *5008/S
M443901 | P.C.B. LP 1107-3 I/O Board EBM | LP1107-3 EBM血路系统控制板 *5008/S
M381851 | Dialyzer Holder | 透析器夹 *5008
M479201 | Universal Rinse Chamber | 冲洗腔（含密封圈） *5008/S
M376751 | Seal for Rinse Chamber | 冲洗腔密封圈 *5008
M388781 | Concentrate Suction Tube (red) with Filter | 浓缩液吸管（红色）含滤网 *5008
M388791 | Bicarbonate Suction Tube (blue) with Filter | 浓缩液吸管（蓝色）含滤网 *5008
M324601 | Bibag Connector | B粉连接模块*5008
M373421 | O-Ring 9x3 *5008S | 密封圈 *5008S
6409191 | O-Ring 8x2 coated | 干粉密封圈 *5008/S
M433261 | O-Ring 8x2 coated | 干粉密封圈 *5008/S
M407431 | Sensor Position Connector Flap *5008S | 传感器连接板 *5008S
M334811 | Sensor Bag connected *5008S | 干粉连接传感器 *5008/S
M407441 | Sensor Bag connected *5008S | 干粉连接传感器 *5008/S
M373801 | Dialyzer Holder *5008S | 透析器夹 *5008S
M407371 | Battery Pack 24V - 7,2Ah *5008S | 蓄电池 *5008S
M403101 | Float Switch | 浮子开关 *5008/S
M322221 | Pressure Transducer -0.9/2.0 bar | 压力传感器（-0.9/2.0 bar）*5008/S
M344831 | Pressure Transducer Balancing Chamber Control(-0,9/+3,5 bar) | 平衡腔控制压力传感器*5008/S
M390201 | Universal Eccentric Membrane Pump | 偏心膜式泵 *5008/S
M368111 | Gear Pump Drive | 齿轮泵电机 *5008/S
M353411 | Solenoid Valve with 1 nozzle | 单通阀*5008
M312761 | Small Solenoid Valve with 1 nozzle | 小型单通电磁阀*5008/S
M388621 | Solenoid Valve Disinfection | 消毒液阀 *5008/S
M354441 | Loading Pressure Valve | 装载压阀A02 A03*5008/S
M388581 | Loading Pressure Valve | 调压阀 *5008/S
M327771 | Leakage Sensor | 漏液传感器*5008/S
M368601 | Dialyzer Coupling red | 透析液快速接头，红色 *5008/S
M368611 | Dialyzer Coupling blue | 透析液快速接头，蓝色 *5008/S
M369011 | Sensors, Shunt Interlock | 旁路盒传感器 *5008/S
M316311 | Sensor EBM-Door | EBM门传感器*5008
M407771 | Sensor EBM-Door（PATIENT CARD SW2.2 ARABIC *SLEEP.SAFE） | 病人卡（看红色）
M320041 | Level Detektor | 液位探测器*5008/S
M384211 | Optical Detector / Air Bubble Detector (ABD) | 光学及空气传感器套件 *5008/S
M319501 | Line Clamp | 血路管夹*5008/S
M324561 | Grip Handle for Line Clamp red | 红色管路夹按片*5008/S
M324581 | Grip Handle for Line Clamp blue | 蓝色管路夹按片*5008/S
M403281 | Pressure Dome Holder red Type | 动脉压盖板 *5008/S
M320211 | Gear Drive for Line Pumps | 管路泵齿轮电机*5008/S
M350391 | Rotor for Blood Pump / SN-Pump | 血泵/单针泵转子*5008/S
M350401 | Rotor for Substituate Pump | 置换液泵转子*5008/S
M315771 | P.C.B. LP 1126 / EBM Heparin Pump Control Board | LP1126 EBM肝素控制板*5008/S
M381941 | Combi Port for Online HDF | 置换液接口套件 *5008
M420851 | Substituate Feeding Valve for Online HDF | 置换液夹断阀 *5008
M420861 | Substituate Feeding Valve for Online HDF | 置换液夹断阀 *5008S
M397251 | PC Board for Display | 机器主板 *5008/S
M315111 | P.C.B. LP 1104 / Monitor Power Supply Board | LP1104 显示电源板*5008/S
M390981 | Monitor Front with Touch Screen | 触摸显示屏 *5008
M483751 | Monitor Front with Touch Screen | 触摸显示屏 *5008
M390991 | Display with Mounting Frame | 液晶显示屏 *5008
M316161 | P.C.B. LP 1139 / Screen Sensor | LP1139 显示屏传感器板*5008
M331421 | Speaker with Cable | 喇叭（带连接线）*5008
M331431 | Microphone with Cable | 麦克风（带连接线）*5008
M405541 | Monitor Front with Touch Screen | 触摸屏 *5008S
M405551 | Display with Mounting Frame | 液晶显示屏及支架 *5008S
M382981 | P.C.B. LP 1150 / Screen Sensor | LP1150屏幕传感器控制板 *5008S
M371891 | Microphone and Speaker with Cable | 喇叭含线 *5008S MFT
M354611 | Power Supply Unit 100-240VAC/16A *5008/S | 电源箱100-240VAC/16A*5008/S
M393021 | Power Cord with China Plug *5008S | 电源线 *4008 5008
M336451 | Power Cord with China Plug *5008 *4008 *4008S V10 | 电源线*4008
M321131 | Heater Rod Chamber with Heater Rod 220-230V *5008/S | 加热腔（带220V-230V的加热棒）*5008/S
M395061 | WATER INLET FILTER 5008/S | 进水过滤网 *5008/S
M395521 | Sealing Bibag Connector *5008S（5/set） | 干粉密封架 *5008S
M421001 | TSC AND MAINTENANCE KIT 5008 S | 5008保养套件 *5008/S
M371221 | CANISTER HOLDER 5008S | 浓缩液桶支架托 *5008S
M382071 | TUBING SILICONE 3x2,5 WHITE | 白色胶管（3.3*2.2 3米/ 条）*4008 5008
M382091 | TUBING SILICONE 5X3mm TRANSPAR | 蓝色胶管（3.3*2.2 3mlong) *4008 5008
6476101 | BOOST-PRESSURE VALVE CPL. | 恒定压调压阀（A01 A05）M388581
M374531 | P.C.B. LP 1102-1 / Controller Board (C167) *5008 | LP1102-1控制板
M436651 | Hall Sensor Rinse Chamber Lock | 冲洗腔霍尔传感器
M371001 | Concentrate Suction Tube (red) with Filter *5008S | A液吸管（含滤网）红色
M371011 | Bicarbonate Suction Tube (blue) with Filter *5008S | B液吸管（含滤网）蓝色
M440961 | Bibag Connector *5008S | 干粉装置整套
M443301 | Venous Pressure Transducer | #N/A
M535181 | Venous Pressure Transducer | 静脉压力传感器
M439281 | Heparin Pump Unit | 肝素泵整套
M407211 | Combi Port for Online HDF | 置换液连接口整套（含sub port及 Rinse port)
M315141 | P.C.B. LP 1105 / Power Supply CPU *5008/S | 电源控制板
M436891 | P.C.B. LP 1105-1 / Power Supply CPU *5008/S | 电源控制板
M315171 | P.C.B. LP 1106 / Power Supply Distribution Board *5008/S | 电源分配板
M421971 | Retrofit Kit CDS Concentrate 1 *5008S | A液中央供液整套
M328721 | Water Inlet Chamber *5008 | 进水腔*5008
M430311 | Heater Rod 2 x 1000W / 220-230V *5008/S | 加热棒2 x 1000W / 220-230 *5008/S
M430421 | Hydrophobic Filter Hydraulics - EBM *5008/S | 输气过滤网 *5008/S
M345021 | Magnet for Door of Filter Chamber *5008 | 磁铁（滤器腔门）*5008
M360941 | Water Inlet Chamber *5008S | 进水水箱 *5008S
M320121 | Valve Block / Water Inlet *5008/S | 进水阀模块*5008/S
M353361 | Mixing Chamber *5008 | 混合腔*5008
M450501 | Flap for Shunt Interlock *5008/S | 旁路盒盖子 *5008/S
M405081 | Particle Filter Dialysate *5008/S | 废液过滤片 *5008/S
M329791 | Cap For Micro Switch *5008/S *4008 *4008S V10 (10/ | 微动开关帽子*5008/S *4008 *4008S V10
M390221 | Nozzle Set CD Sensors for UF-Pump *5008/S | 超滤泵传感器 *5008/S
M405071 | Bayonet Joint with Particle Filter ex EC430 *5008/ | 废液过滤器装置 *5008/S
M343431 | Mounting Clip for P.C.B.`s *5008/S | P.C.B装配夹*5008/S
M376721 | Level Sensor Probes *4008 *4008S V10 *5008/S | 液位传感器探针 *4008,5008
M483251 | SENSOR（S10） LUFTABSCHEIDEVENTIL *5008/S | 超滤泵液体传感器
6725741 | FILTER UF-PUMP(DELIV.UNIT10)4008/5008 | 过滤器 5.5/5.5mm *4008/*5008
M483411 | FILTER 5，0/5，0MM 102uM | 小过滤器5-5mm(74) *4008 5008
MFT
零备件号 | 英文描述 | 中文描述
M281761 | Weighing cell with P.C.B. LP127-B | 平衡称及电路板LP127_F（MFT）
M284341 | P.C.B.LP125-A Blood leak detector | LP125-A 漏血监测器*MFT
M284331 | P.C.B.LP123,Pump control | LP123 泵控制板*MFT
M280881 | P.C.B.LP122,Heater control | LP122加热板 *MFT
M281091 | P.C.B.LP124,Motherboard | LP124母板*MFT
M284551 | P.C.B.LP244,Operating processor | LP244 操作主板*MFT
M284541 | P.C.B.LP128,power supply unit | LP128 电源板*MFT
M284291 | PLATE FOR DRIP CHAMBER HOLDER MFT | 静脉壶钢片*MFT
M375711 | Luer Lock Connection Cone | 静脉压力测量接口 *4008B/H/S/V10
M280451 | Heater complete, Version 2 *MFT | 加热器*MFT
M284421 | P.C.B. LP 343-4 / Pressure Transducer Board *MFT | LP 343-4 压力测量板*MFT
6777011 | P.C.B. LP 950 for Heparin Pump *4008 *MFT* Genius 75 | LP 950 肝素控制板*4008
M333671 | Support Block for Heparin Pump *4008 *MFT *Genius 75 | 肝素泵轴套支架*4008
M360761 | Rotor for Roller Pumps *MFT | 泵转子 *MFT
M281001 | Stator for Roller Pumps *MFT | 泵座外壳*MFT
M280181 | Geared Motor 20 V for Blood Pump *MFT | 20V齿轮血泵马达*MFT
M280171 | Geared Motor 24 V for Balancing Pumps *MFT | 24V齿轮平衡泵马达*MFT
M305711 | Bubble Catcher Holder 22mm complete with Sensors | 22mm空气监测器*4008
M375611 | Ultrasonic Sensor Set for Level Detector | 空气超声波传感器 *4008B/H/S
6761251 | Bubble Catcher Holder 20+22mm without Sensors White | 22mm静脉壶支架*4008
M375631 | Door for 20+22mm Bubble Catcher Holder | 空气传感器门22mm *4008B/H/S
M375621 | Door Latch for Bubble Catcher Holder White | 气泡检测器门锁
5660201 | Optical Detector for LD complete *4008 *MFT *ADM 08 | 光学监测器*4008*MFT
6746791 | Optical Detector for LD complete *4008 *MFT *ADM 08 | 光学监测器*4008*MFT
M375751 | Blood Line Clamp with Solenoid *4008 *2008 *MFT *ADM08 | 静脉安全夹 *4008B/H/S/V10
6730681 | Membrane Pump for Level Detector *4008 | 静脉模组气泵 *4008
M307071 | Micro Solenoid Valve / Vent Valve | 三通电磁阀*4008
6456671 | Hydrophobic Filter with Hole 0,25mm *4008 *2008 *MFT | 疏水过滤器
6762271 | Line for LD / Ventilation Valve - P.C.B. LP 450 | 静脉模组三通阀-传感器连接管 *4008
M280591 | Lower Support for IV Pole *MFT | IV杆底部支撑（MFT）
M281081 | Support for IV-Pole of CiCa-Module *MFT | IV杆底部支撑含CICA连接口（MFT）
M284771 | Ball for Scales (44.3g) *MFT | 平衡秤小球*MFT
M284131 | Lifting Magnet 12V, Version 1 *MFT | 平衡秤上用于顶小球的电磁阀（MFT）
M280431 | Lifting Magnet 12V, Version 2 *MFT | 平衡秤上用于顶小球的电磁阀（MFT）
M280931 | Transformer, complete *MFT | 变压器*MFT
M284731 | Housing Fan 24V DC *MFT | 风扇*MFT
M284741 | Air Filter for Fan Inlet *MFT | 空气滤过网*MFT
M284081 | TFT Display 10.4" with Inverter *MFT | 10.4"液晶显示屏*MFT
M280961 | Backlight for Display *MFT | 显示屏背光灯管*MFT
M280971 | Display Control CPU, complete *MFT | 显示控制板*MFT
M284071 | Rotary Encoder, Optical *MFT | 面板上的导航键（MFT）
M284061 | Keyboard Overlay *MFT | 按键面板*MFT
M284051 | P.C.B. LP 129-A / User Interface *MFT | LP 129-A 按键板*MFT
6720291 | Rechargeable Battery 18V complete *4008 *MFT | 蓄电池 *4008/MFT
M284301 | PUMP DOOR MULTIFILTRATE | 泵门
M280541 | COVER FOR REED CONTACT,PUMP STATOR MFT | 磁铁片
M280491 | HEATER HOUSING W/O DOOR,VERSION 2 MFT | 加热器外壳
M282361 | CASTOR MFT | MFT小轮子
M280951 | SUB SCALES TRAY RIGHT F.HF-BIC-BAGS MFT | MFT托盘
M282971 | Housing Pedestal with Trolley *MFT | MFT底座
M284611 | REAR WHEEL MULTIFILTRATE | MFT后轮
M281351 | PCB LP1102-2 / CONTROLLER BOARD MFT | LP1102-2 MFT控制板
M282931 | PCB LP1102-2 / CONTROLLER BOARD MFT | LP1102-2 MFT控制板
M283261 | LITHIUM BATTERY FOR LP 244 | 锂电池(LP244板上,MFT)
6777921 | DIALYZER HOLDER 4008/2008/GENIUS/MFT | 透析器固定夹*4008 *4008S V10 *2008
6519041 | SUPPORT CLAMP HEPARIN PUMP 4008/SV10/MFT | 肝素泵轴尾卡子 *4008
M366201 | P.C.B. AD28-1 / Adapter Board for LP 450-3 *MFT | #N/A
M284411 | P.C.B. LP 450-3 / Level Detector Board *MFT | LP 450-3 空气监测板*MFT
M281341 | PCB LP MS04/MOTHERBOARD CiCa MFT | #N/A
M933391 | CICA MODULE EX EC120 MFT | 枸缘酸泵模组 *MFT
BCM
零备件号 | 英文描述 | 中文描述
M396361 | Serial Port *BCM | 串行端口（绿色）
M396471 | Power Supply Port *BCM | 电源端口
M396501 | Set of small Parts *BCM | 机器内部铜片及螺丝，垫片
M390461 | Power Supply *BCM | 人体分析仪交流电源适配器 *BCM
M350641 | P.C.B. LP1092-1 *BCM 3.1 | LP1092-1 数字信号处理电路 *BCM 3.1
M396481 | Display with P.C.B. LP1095 and P.C.B. LP1098 *BCM 3.1 | LP1095 & LP1098显示控制电路 *BCM 3.1 *BCM
M433161 | Display with P.C.B. LP1095 and P.C.B. LP1098 *BCM 3.2 | 屏幕显示器整套
M349631 | P.C.B. LP 1096 *BCM 3.1 | LP 1096 接口电路 *BCM 3.1*
M422081 | P.C.B. LP1096 USB *BCM 3.2 | usb接口控制板
M350671 | P.C.B. LP 1097 *BCM | LP1097 模拟信号处理电路 *BCM 3.1
M428041 | Cable LP1097-LP1095 *BCM 3.2 | 连接线
M348721 | Cable LP 1095 to LP 1096 *BCM 3.1 | 连接线
M434491 | Cable LP1096-LP1098 *BCM 3.2 | 连接线
M351351 | Electrode Cable *BCM | 电极电缆 *BCM
M374851 | Card Reader, USB *BCM | 人体分析仪读卡器 *BCM
M433091 | Retrofit Kit BCM 3.1 > BCM 3.2 *BCM 3.1 | BCM SW3.1>3.2软件升级套件
M398741 | Service BCM 3.2 Set *BCM 3.2 | BCM维修软件
M396591 | Extension Cable Serial *BCM 3.1 | #N/A
M373481 | Startup Cable *BCM 3.1 | 电缆连接线
M396541 | Startup Adaptor *BCM 3.1 | 适配器
M396561 | Programming Cable *BCM | 扁平连接线
M538171 | RETROFIT KIT BATTERY PACK BCM | 电池
M351431 | DISPOSABLE ELECTRODES (PACK WITH 40 PIECES) *BCM | 电极片